## Sheet1
Check | TASK NAME | SUB TASK NAME | STATUS | ASSIGNED TO | START DATE | END DATE | DURATION in days | COMMENTS
FALSE | Task 1 - Model Updates short term
|  | 1.1 Update the naming convention (3 letter unique country code, 3 letter unique fuel identifier, 3 letter unique technology identifier) |  | IP | 16/10/2019 | 23/10/2019
|  | 1.2 Update the RES |  | IP | 21/10/2019 | 25/10/2019
|  | 1.3 Include water withdrawal in the uranium extraction technologies. I included only water output |  | IP | 21/10/2019 | 25/10/2019
|  | 1.4 Change the capital costs of LNG imports & exports technologies in the 1.5 and 2.0 sc. compared to the Ref. sc. |  | IP | 21/10/2019 | 25/10/2019
|  | 1.5 Update the capital costs (units) of the LNG imports/export technologies (Should be in Million USD) |  | IP | 21/10/2019 | 25/10/2019
|  | 1.6 Include transportation losses for the non-electricity fuels |  | IP | 21/10/2019 | 25/10/2019
|  | 1.7 Update the variable cost for wind and solar resource and uranium extraction (BW, GN, NE, TZ, ZM) |  | IP | 21/10/2019 | 25/10/2019
|  | 1.8 Hydropower coming into the model as Medium hydro |  | IP | 21/10/2019 | 25/10/2019
|  | 1.9 Clean up the model from demands/fuels/technologies which are not required |  |  | 21/10/2019 | 25/10/2019
|  | 1.10 Automate the graphs outputs |  | IP - VS - WU | 21/10/2019 | 25/10/2019
Task 2 - Model Updates Medium - Long Term
2.1 Update the demands (50%-50% share)
|  | 2.2 Export of other fuels (not only electricity) |  | IP
|  | 2.3 Automate the energy balances |  | WU
2.4 Issue with solar capacity factors at night - Timeslices have not been set up as day & night
|  | 2.5 Standard structure (open source) |  | IP, WU
Task 3 - Scenarios for publishing papers
Task 3 - Model issues
In Libya. huge wind (CF 39%) and solar investments
Namibia´s hydropower potential is unknown so I dont know if the future hydro capacity is correct.
Uganda. High water consumption for biomass that fades. Why?
Liquifaction in RSA to be added exogeniously. May need to alter the GHG target later (i.e. SASOL are big emitters).
No Gas in Angola seems odd
|  | Botswana Solar is too large. | [5 empty] | Impossible. Check the LCOE with those low load factors. The country has coal.
Benin hydro capacity
|  | CAR Has odd water consumption in the first few years. | [5 empty] | Most likely this will change in the new run with the updated water factors
Ivory Coast. Dropping out of gas seems odd.
|  | Cameroon. Why does it use gas and not coal. While the IVC uses coal? | [5 empty] | CM: REsidual capacity: 0.16 GW LFO, 0.15 GW NG, 0.18 GW HFO, 0.75 GW HYD. Future investments: 0.110 GW NG, 1.22 GW HYD, 0.0015 GW SOL. Cameroon same as Ivory Coast has NG reserves (no coal reserves). Ivory Coast existing and future investments (energy mix) is similar like Cameroon. Not sure why Ivory Coast uses coal. I checked the fuel prices and Cameroon has the same ones as Ivory coast.
|  | Demand in Algeria looks wrong. | [5 empty] | IP: I used the demands based on the JRC energy balance
|  | Ghana's water consumption seems very high for gas (compared to coal) for the first few years. | [5 empty] | That is becasue the water factors used for 2015-2019 relate to the actual cooling type in that particular capacity (identified by us manually). For PP on or after 2020, we do not know the cooling type and hence we have the weighted average water factors.
Kenya has too much wind and solar (i.e. intermittents.)
|  | Senegal's demand from 2020-3039 seems wrong. | [5 empty] | IP: Which demand? In the Ref. scenario the ELC demand looks correct after having another look
Somalia solar PV capacity factor is wrong. There is not enough PV to cover night time demand in the results.
Capacity for Coal in the first few year in Swaziland is wrong. There is too little reported. (See the new capacity investment that is not reflected).
Swaziland water withdrawals look off in the first few years.
|  | Chad. All demand met with intermittent RET. | [5 empty] | A structural fault to correct later.
Tanzania. Investment in Solar is way to high. Need to limit that. TZN has both coal and gas
Zambia. Too much solar.
Zimbabwe has a little too much solar.
It appears that there are no coal exports from the model. RSA is one of the world's biggest coal exporters. Can add this exogeniously together with coal liquifaction later.
Water consumption for MOrocco in 2023 (coal) needs to be changed. its very high.This is not a critical error. We can just change the numbers in the model results.(2308_REF)
The refineries in Libya are behaving weirdly. The crude oil refined in the country reduces to close to zero in 2034 and then increases (2308_REF)
REF: General observation: in many cases Solar PV entering the system in 2030's. Why not before?
REF: Angola- closure of 520 MW of gas power and investment in 770 MW of coal power- all during the increase in gas extraction- why?
Biomass power cooling technology- from the numbers it seems as if in many cases (Angola, Burkina Faso, Congo...) the technology is once through using freshwater. Can we expect this since biomass power plants are usually constructed close to the source of biomass and not necesarily close to water source?
REF: Central African Republic- oil electricity generation is decreasing in early 2020's, but water withdrawal in the same fime is more than doubled- why?
REF: Congo People Republic- oil refineries have their own oil power plants- should there be oil power generation then also after 2055?
REF: Algeria- since 2011 there is a hybrid CSP (25 MW) + CCGT (130 MW) plant Hassi R'Mel, but there is no CSP in the scenario. Is this a part of gas?
REF: Algeria- if coal power enters the system in 2045, why is there a switch from coal mining to coal import in 2051?
REF: Egypt- 2040 and onwards- why is oil power substituting gas power while in the same time oil extraction reduces and gas extraction increases?
REF: Nigeria- why is Nigeria closing oil power when oil extraction is in increase?